## BoQ
Bill of Quantities - Electrical works at Karoo Heights Sports Complex
Synthetic test document - fictional data
Prepared by the employer's agent. Tenderers complete rate and amount columns.
Item | Description | Unit | Qty | Rate | Amount
SECTION: PRELIMINARIES AND GENERAL
1.1 | Health and safety plan and file | LS | 1
Subtotal: Preliminaries and General
SECTION: DISTRIBUTION BOARDS
2.1 | Sub distribution board, 63 A, 12-way, surface mounted (rate only) | each
2.2 | Miniature circuit breaker, 1-pole, 20 A, 6 kA | No.
2.3 | Miniature circuit breaker, 3-pole, 63 A, 10 kA | Nr | 5
2.4 | Surge protection device, type 2, 3-phase | each | 1
Subtotal: Distribution Boards
SECTION: CONTAINMENT
3.1 | PVC trunking, 100 x 50 mm | Metre | 80,00
Subtotal: Containment
SECTION: CABLES
4.1 | 2-core 6 mm2 PVC insulated copper cable, installed in conduit | m
4.2 | 2-core 10 mm2 PVC insulated copper cable, installed in conduit (rate only) | m
4.3 | 3-core 4 mm2 PVC insulated copper cable, installed in conduit | m | 231,00
4.4 | 3-core 6 mm2 PVC insulated copper cable, installed in conduit | mtr | 374,00
4.5 | 3-core 16 mm2 PVC insulated copper cable, installed in conduit | mtr | 198
4.6 | 4-core 4 mm2 PVC insulated copper cable, installed in conduit | mtr
4.7 | 4-core 6 mm2 PVC insulated copper cable, installed in conduit | Metre | 381,00
Subtotal: Cables
SECTION: LIGHTING
5.1 | LED panel luminaire, 600 x 600 mm, 36 W, recessed | No.
5.2 | LED floodlight, 100 W, IP65 | Nr | 24
5.3 | Exit sign, LED, wall mounted | Nr
Subtotal: Lighting
SECTION: SMALL POWER
6.1 | Single switched socket outlet, 16 A | no
6.2 | Data outlet, Cat 6, double | Nr | 27
Subtotal: Small Power
SECTION: EARTHING AND TESTING
7.1 | Earth rod, copper clad, 1.5 m | Nr | 14
7.2 | Bare copper earth conductor, 16 mm2 | Metre | 122,00
7.3 | Testing, commissioning and certificate of compliance | Sum | 1
7.4 | As-built drawings and operating manuals | item | 1

## Notes
General notes
Quantities are provisional and subject to remeasurement.
Item numbers refer to the specification in Part C3.