## BoQ
Bill of Quantities - Electrical works at Rivermead Primary School
Synthetic test document - fictional data
Prepared by the employer's agent. Tenderers complete rate and amount columns.
Item | Description | Unit | Qty | Rate | Amount
SECTION: PRELIMINARIES AND GENERAL
1.1 | Health and safety plan and file | sum | 1
1.2 | Provisional sum for builder's work in connection with electrical installation | sum | 1 | R 52 706.00
Subtotal: Preliminaries and General
SECTION: DISTRIBUTION BOARDS
2.1 | Miniature circuit breaker, 1-pole, 20 A, 6 kA | no | 90
2.2 | Miniature circuit breaker, 3-pole, 63 A, 10 kA | No. | 9
Subtotal: Distribution Boards
SECTION: CONTAINMENT
3.1 | Steel conduit, 25 mm, surface mounted | Metre
3.2 | PVC trunking, 100 x 50 mm | mtr | 230,00
Subtotal: Containment
SECTION: CABLES
4.1 | 2-core 16 mm2 PVC insulated copper cable, installed in conduit | m | 187
4.2 | 3-core 1.5 mm2 PVC insulated copper cable, installed in conduit | Metre | 552,00
4.3 | 3-core 2.5 mm2 PVC insulated copper cable, installed in conduit | m | 550
4.4 | 3-core 10 mm2 PVC insulated copper cable, installed in conduit | Metre | 463,00
4.5 | 3-core 16 mm2 PVC insulated copper cable, installed in conduit | Metre | 1142
4.6 | 4-core 4 mm2 PVC insulated copper cable, installed in conduit | mtr | 307,00
4.7 | 4-core 6 mm2 PVC insulated copper cable, installed in conduit | mtr | 645
4.8 | 4-core 10 mm2 PVC insulated copper cable, installed in conduit | Metre | 1067
4.9 | 4-core 16 mm2 PVC insulated copper cable, installed in conduit | Metre | 714
Subtotal: Cables
SECTION: LIGHTING
5.1 | LED panel luminaire, 600 x 600 mm, 36 W, recessed | Nr | 142
5.2 | Emergency luminaire, 3-hour maintained | Nr | 35
5.3 | Exit sign, LED, wall mounted | each | 15
5.4 | Light switch, 1-lever, 1-way | No. | 37
Subtotal: Lighting
SECTION: SMALL POWER
6.1 | Isolator, 20 A, weatherproof | No. | 10
Subtotal: Small Power
SECTION: EARTHING AND TESTING
7.1 | Testing, commissioning and certificate of compliance | sum | 1
7.2 | As-built drawings and operating manuals | Item | 1

## Notes
General notes
Quantities are provisional and subject to remeasurement.
Item numbers refer to the specification in Part C3.